2015 UIC Project Form

API number
103-01415

UIC permit
2D1031415


Current operator
BLUE GROUP OPERATING, INC.

Well in operation since
1996

Location of well
Wetzel county

Formation(s)
Gordon

MIT

Most recent
12/02/2009 
witnessed
Previous
01/08/1997 


Permitting

Application
1/27/2013
NOD letter 3/27/2015


Expiration of permit
10/7/2013


Previous application
8/22/2008


Expiration
2/13/2007


Inspections

12/2/2009


2/17/1999


8/24/1998


1/8/1998


8/26/1997


4/2/1997


8/12/1996


NOVS

10/2/2002
remove oil from dike

WR-40s

No injection after minimal amount in 2011.


Comments

Last MIT in 2009. 

Active well.





Well appears to be abandoned with no response to 2015 NOD.








